Minutes of Health and Safety Committee meeting held at 9.30am on Monday, 8th October 2015 at Caldicot Town Council.

Present: 	Cllrs D Evans [Chairman], F J Harvey, F Rowberry, P Stevens

Mr O Williams, H& S Consultant, Ellis Whittam

[In attendance:  Gail McIntyre, Clerk]

- Apologies:  None

2.	Declarations of Interest

Cllrs F Rowberry and P Stevens declared an interest in Caldicot AFC

3.	To Meet with Mr Oliver Williams, Health & Safety Consultant, Ellis Whittam to

Carry out Annual Review of Health and Safety Documents and produce General

Risk Assessment Report and Prioritized Action Plan

Cllr D Evans welcomed Oliver Williams and requested the report in time for Town Council/Estimates Committee .

4        To Undertake Health & Safety Inspections of Town Council Sites

The Committee undertook a visual inspection of Town Council sites:

(a) 	Town Council Building

Interior/Exterior

It was recommended:

- Fan at side of building is taken down and cleaned

- Fan at rear of building is repaired

- Request quotation for UPVC cleaning below windows

- Request quotation for clearing moss and replace with chippings at ‘pathway’ side of building

- Obtain quotation to re-paint/spray KEEP CLEAR marking in car park

Resurfacing – not required

(b)	Tymperleys

- check with Nick Hill that the lease is explicit with regards to repairs required to cover Town Council eg sink unit

- Nick Hill is requested to produce proof of licence of new leasee to confirm operating correctly

(c)	Jubilee Way Toilets

- A leak identified next to the electric box – floor wet.  Advise Rob Nancarrow, Mon CC urgently

- Disabled toilet – need to periodically check alarm – suggested monthly

Re: litter beneath ramps – hazard if lighted cigarette dropped.  Recommend request quotes for upstanding

(d)	Allotments

- Cllr F Rowberry reported the gate at the entrance at Sandy Lane site required uplifting.  It was recommended levelling out – stone chippings/tarmac/concrete ‘ramp’ at gate - request quotations

- It was recommended to send a letter to plot holders to remove any items leaning against the fence, especially Neddern Way side as resident boundaries (or place notices)

- Bindweed problem on ‘lane’ side fence.   It was recommended spraying as it appears to be coming from the lane.

(e)	Land at top of Sandy Lane

- Cllr D Evans advised of a complaint from a resident re: overhanging line of trees.  The Clerk advised she had sought advice from J Pinder, Tree Surgeon (see e-mail)   Cllr Evans requested advice from Tree Surgeon, Mon CC – Tim Bradfield to contact the Clerk with view to meeting.

- It was recommended:

a)	Manage trees, ie trim back or

b)	Take out line of trees nearest boundary and clean up

- Reference was made to contacting R Millinship/P Marshall re: quotation for works.  It was also suggested chipping wood and selling back to Mon CC

(f)	King George V Playing Fields

Compound

- It was recommended to cut trees to height of compound and clearing up around the area – weeds, rubbish etc and removal - request quotations RG/JR

- Ref: broken bench from cemetery – contact family

- Drain cover required in car park

Playing Fields

- 15 bollards missing – Health & Safety Issue – remaining holes to be filled in asap – Request R Graham

Play Area

- Recommend more picnic tables

- Annual inspection by Mon CC – minor requirements

- Inspected monthly by Mon CC

Signs

- Mon CC to erect ‘No Dog Fouling’ signs asap:

1 x entrance

1 x children’s play area

1 x AFC fence

Bowls Club

- Sprinkler caps x 2 require repairing

- Request remove ‘pile’ from outside shed

- Metal bench outside changing room – jagged edges – request attend

Allotments Rear Bowls Club

- 2 plots appeared not cultivated

AFC Area - No inspection undertaken of AFC area

(g)	Cemetery

- 2 x Cremated Remains spaces built around with small wooden fence – could cause problems for strimming

- 3 x spaces built around in Children’s area

- It was recommended that notices are placed to advise:

i)	that flower receptacles to be placed on grave space tablet/headstone only

(difficulty in grass cutting)

The committee considered location of new graves – it was suggested that the bottom corner be used to ensure access for gravedigger vehicle.